| Task hazard analysis |  |  |
| --- | --- | --- |
| Electro-Technologies |  |  |
| task | Using Rotating Equipment |  |
| hazards | Potential Hazards | Possible Consequences |
| Physical | - electrical - moving parts | - electrical shock - burns - bruising |
| Chemical | - n/a | - n/a |
| Biological | - bacteria/viruses - blood - body fluids | - Where others have touched devices, possible contamination via viruses/bacteria may occur. |
| Ergonomic | - n/a | - n/a |
| Psychological | - fatigue - stress | - anxiety - inattentiveness - poor morale - increased illness |
| Pre-operational Safety Checks |  |  |
| - Inspect the work area for hazards. - Inspect tools, equipment, and materials for damage and other hazards. For example, check for electrical cord damage. - Inspect PPE and replace if required. - Be aware of locations and operation of dedicated and general lab emergency stop buttons. - Check that the equipment is properly bolted/fastened together. - Report any hazards. |  |  |

| Safe Work Procedure | Cautions |
| --- | --- |
| - Put on all required PPE. - Secure loose clothing, and tie back long hair. Remove jewellery. - Follow the manufacturer’s instructions. - Follow the school safety policy. - Physically set up the required equipment. - Use tools and equipment under competent supervision. - Electrically connect required equipment. - Have the work checked by the instructor . - Energize the work and proceed with lab, taking all appropriate readings. - De-energize the work. - Put away all tools, equipment, and materials in their proper storage areas. - Clean the work area. - Establish handwashing practices. | - Ensure a fused power supply is used. - Ensure the work is checked by the instructor before energizing, and follow all steps in the lab. |
| REPORT ANY HAZARDOUS SITUATION IMMEDIATELY! If an emergency occurs while completing any task or the tool or equipment malfunctions, shut off the power immediately, follow the lock-out procedure, and get help. |  |